Principal Investigator(: 				_____________		Date(: 				_______

Institution(: 												_______

Lab. Contact Person(: 					______	Contact Phone(: 				_______

Contact E-mail: 						Contact Fax(: 					_______

Grant No(.: 					    [or]	P.O. No(/CC No(: 					_______

*All fields need to be filled out (Grant # for UAlbany only, all others need PO or CC#)	.

Project Title*:

| RNA information: |
| --- |
| Sample Number | Sample Name | RNA type (total, mRNA, IP, cRNA) | Sample Description (include any treatment details, indicate controls) | Conc. (µg/µL) | Total Amount | A260/A280 Ratio | Organism | Source Tissue/Cells (pls include number of cells or tissue sample weight) | RNA Isolation Method | Microarray type (from Table I) |
| example | con1 | total | untreated | 0.3 | 3 ug | 1.8 | mouse | kidney ~50mg | trizol/RNeasy | Affy Mus Gene ST |
| 1 |  |  |  |  |  |  |  |  |  |  |
| 2 |  |  |  |  |  |  |  |  |  |  |
| 3 |  |  |  |  |  |  |  |  |  |  |
| 4 |  |  |  |  |  |  |  |  |  |  |
| 5 |  |  |  |  |  |  |  |  |  |  |
| 6 |  |  |  |  |  |  |  |  |  |  |
| 7 |  |  |  |  |  |  |  |  |  |  |
| 8 |  |  |  |  |  |  |  |  |  |  |
| 9 |  |  |  |  |  |  |  |  |  |  |
| 10 |  |  |  |  |  |  |  |  |  |  |
| 11 |  |  |  |  |  |  |  |  |  |  |
| 12 |  |  |  |  |  |  |  |  |  |  |

The minimum amount of material necessary varies from 50 ng – 50 ug depending on the microarray type.  Please refer to Table I next page to determine starting amount RNA for each array type.  OD 260/280 ratios must be between 1.8 - 2.1 for each sample. Each sample should be provided in a single 1.5 mL microfuge tube with the initials of the Principle Investigator and a sample number written on the top.  Samples that do not meet the above criteria may be assessed an additional RNA set up fee or returned unprocessed. Samples will be assayed for RNA quality by Agilent BioAnalyzer prior to microarray analysis.  Investigators are responsible for all costs associated with failed or poor quality reactions caused by poor RNA samples.

Initials____________________________

I have read and understand the above policies

Table I

| Microarray type | Starting amount* |
| --- | --- |
| Affymetrix 3’ expression | 2 ug |
| Affymetrix 3’ expression (small sample prep) | 50 ng |
| Affymetrix Whole Transcript – GENE ST | 150 ng |
| Affymetrix Whole Transcript – EXON ST | 1.5 ug |
| Affymetrix prokaryotic gene expression | 10 ug |
| Affymetrix Tiling | 3.5 ug |
| Affymetrix microRNA | 150 ng |
| Agilent microRNA | 150 ng |
| Agilent Expression | 1 ug |
| Nimblegen eukaryotic gene expression | 1 ug |
| Nimblegen prokaryotic gene expression | 10 ug |

# Text boxes

*If you have less than these recommended amounts, please contact the core since we may have alternate protocols that can utilize lower amounts (down to 10 pg) of starting material.

Special Instructions

Please indicate if you wish to have the samples returned to you and provide an account number for shipping charges. Unless box is checked and billing info provided, we will discard the samples at the end of the study.